CHANGE ORDER No. 14

Project: Harpeth Ridge Medical Office Building, Franklin, Tennessee

Date: November 8, 2024

Owner: Tallis Development Group, LLC

Contractor: Brightwater Builders, Inc.

Architect: Lindqvist Rowe Architects, PLLC

The Contract is changed as follows:

Redesign of the Level 1 imaging suite to accommodate a 3T MRI in place of the 1.5T unit shown on the original drawings, per Architect's Supplemental Instructions ASI-022 and ASI-023, including revised RF shielding, a quench pipe route to the roof, structural reinforcement of the slab at grid lines B-3 through C-5, and a dedicated chilled water loop.

Change in Contract Sum: The Contract Sum is increased by Two Hundred Eighty-Six Thousand Four Hundred Dollars ($286,400.00).

Original Contract Sum: $14,850,000.00

Net change by previous Change Orders: $412,905.00

Contract Sum including this Change Order: $15,549,305.00

Change in Contract Time: Time impact to be determined. Contractor shall submit any request for adjustment of the Contract Time in accordance with Section 15.1.2 of the Agreement.

NOT VALID UNTIL SIGNED BY THE OWNER, CONTRACTOR AND ARCHITECT.