SUBMITTAL TRANSMITTAL No. 005

Project: Harpeth Ridge Medical Office Building, Job 24-117

From: Brightwater Builders, Inc. (Marcus Oyelaran)

To: Lindqvist Rowe Architects, PLLC

Specification Section: 23 31 13 - Metal ducts

Date Sent: February 13, 2025

Architect's Action (February 24, 2025):

APPROVED AS NOTED. Supply trunks serving Levels 2 through 4 shall be 20 gauge minimum as specified; 22 gauge shown for branch ducts only is acceptable.

Reviewed by Evelyn Rowe, AIA. Review is for general conformance with the design concept only; the Contractor remains responsible for dimensions, quantities and coordination.